|  | Safety, Health and Environment Office Safety Assessment for Research Spaces | SHE Form L01 |
| --- | --- | --- |
|  |  | (Official use only) (此欄由本公司填寫) Reference No.: |

Notes 注意:

- Hong Kong Science and Technology Parks Corporation (HKSTP) requires applicants for all research spaces (including laboratories and workshops) at the Science Park to complete and return this form to HKSTP for safety assessment. Applications shall include relocation and change of use of existing space.

香港科技園公司要求科學園內的所有研究場所(包括實驗室及工場)之使用申請者填寫及提交此表格以作安全評估。此申請範圍包括搬遷及改變現有場所之用途。

- Applicants are required to fill in this form (including Table 1 and Table 2) carefully and provide the necessary information related to laboratory health and safety as highlighted in Table 2.

申請人必須小心填寫此表格(包括表一及表二)並提供所需有關實驗室健康安全的資料(在表二內所顯示的項目)。

- Applicants may be requested to submit a more comprehensive risk assessment (that identifies the necessary controls to prevent or mitigate risk to the laboratory personnel, environment and general public) for HKSTP’s further evaluation.

申請人可能需要提交更全面的風險評估(確定必要的控制措施以防止或減輕對環境和公眾的危害)以供香港科技園公司進一步評估。

- Unless determined otherwise by HKSTP, the activities mentioned below are to be conducted only in laboratory-enabled premises and in accordance with HKSTP’s laboratory and research safety policy and requirements.

除非香港科技園公司另有規定，否則下述活動只可於實驗室內進行，並符合香港科學園實驗室及研究之安全政策及要求。

- Evaluation will be based on the approval criteria enlisted in Appendix 1.

評估會以附錄一之批核標準為根據。

- HKSTP offers no guarantee that the requested premises, facilities and laboratory related provisions can be accommodated.

香港科技園公司不保證可滿足申請人對於場所、設施和實驗室的要求。

| I. | General Information一般資料 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Name of company or division 公司或部門名稱 |  |  |  | ☐ New client 新客戶 ☐ Existing client 現有客戶 |  |  |
| 2. | Business address 商業地址 |  |  |  |  |  |  |
| 3. | Contact person聯絡人 Name姓名: Position職位: Telephone no. 電話號碼: Email address電郵地址: |  |  |  |  |  |  |
| 4. | Location of laboratory / workshop (only for existing client at the Science Park) 實驗室/工場位置(只適用於現有的科學園客戶) |  |  |  |  |  |  |
| 5. | Purpose of space request 場所要求之目的 |  |  |  |  |  |  |
| 6. | Type of space required 所需場地種類 | ☐ Research lab實驗室 ☐ Workshop 工場 ☐ Biological safety level 2 (BSL 2) lab 生物安全二級實驗室 ☐ Others 其他類別 (Please specify 請註明 : _______________________________________ ) |  |  |  |  |  |
| 7. | Function of space 用途 | ☐ Research研究用途 ☐ Pilot plant manufacturing試驗生產 ☐ Others 其他類別 (Please specify 請註明 : _______________________________________ ) |  |  |  |  |  |
| 8. | Nature of research 研究性質 | ☐ Animal study and drug testing動物與藥物研究 ☐ Artificial intelligence人工智能 ☐ Chemistry化學 /Chemical Technology化學技術 ☐ Construction / Transportation建築/運輸 ☐ Electronics / Electrical Engineering電子/電氣工程 ☐ Life Science生命科學 /Biotechnology生物技術 ☐ Material Science材料科學 ☐ Mechanical Engineering機械工程 ☐ Physics物理學 ☐ Others其他 (Please specify 請註明 : ___________________________________________ ) (You may tick one or more items) （可以勾選一個或多個項目） |  |  |  |  |  |
| From Part II to X, please tick Yes/No for each question. Applicable local legislation (refers to Table 1 for details) and the document required (refers to Table 2 for details) are indicated in the right columns. 由第二至第十部份，請為每條問題勾選是/否。所適用的本地法規(法規名稱請參附表一)及所須提交之文件(文件名稱請參附表二)分別列明於右行。 |  |  |  |  |  |  |  |
| II. | Chemicals / Dangerous Goods / Drugs 化學品/危險品/藥品 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 9. | Will you handle any hazardous chemicals / dangerous goods /drugs? 會處理危險化學品/危險品/藥物嗎? |  | ☐ | ☐ |  | R1 - R4 | D1 |
| 10. | Will you use any compressed gas cylinders? 會使用任何壓縮氣瓶嗎？ |  | ☐ | ☐ |  | R1 | D2 |
| 11. | Is a Dangerous Goods licence required? 是否需要危險品牌照? |  | ☐ | ☐ |  | R1 |  |
| 12. | Are there any controlled chemicals or drugs? 是否會使用受管制化學品或藥物？ |  | ☐ | ☐ |  | R3 – R5 |  |
| 13. | Will you handle any nanomaterials? 需要處理納米材料？ If Yes 若是 – (i) The nanomaterials are in : 納米材料是： ☐ Solution Form 溶液 and/or及或 ☐ Powder Form粉末 - What safety measures will you implement to avoid exposure to nanomaterials? 採取什麼安全措施來避免接觸納米材料？ ______________________________________________________________ |  | ☐ | ☐ |  |  |  |
| 14. | Will you install chemical storage cabinet? 會安裝化學品儲藏櫃？ |  | ☐ | ☐ |  |  |  |
| 15. | Will you generate chemical waste? 會產生化學廢物？ If Yes, please register as chemical waste producer with EPD 若是，請往環保署登記成為化學廢物生產者 |  | ☐ | ☐ |  | R6 |  |
| III. | Biological Agents 生物物質 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 16. | Will you handle any microorganisms (e.g. viruses, bacteria, fungi, protozoa, etc.)? 會處理微生物(例如細菌、病毒、真菌、單細胞動物等)? Note: Biosafety Level 2 (BSL2) Laboratory shall be established for handling Risk Group 2 microorganisms. 注意: 2級風險組別的微生物必須在生物安全2級實驗室內處理 |  | ☐ | ☐ |  |  | D3 |
| 17. | Will you handle any animal cells, tissues or bodily fluids? 會處理動物的細胞、組織、體液等? |  | ☐ | ☐ |  |  | D4 |
| 18. | Will you handle any animals associated with potentially infectious agents or animals inoculated with microorganisms? 會處理有機會受感染的動物或接種過微生物至體內的動物? |  | ☐ | ☐ |  |  | D5 |
| 19. | Will you handle any human cells, tissues, or bodily fluids? 會處理人類的細胞、組織、體液等? |  | ☐ | ☐ |  |  | D6 |
| 20. | Do you need to use biosafety cabinet? 會使用生物安全櫃? If Yes, which class of biosafety cabinet? 若是，使用那一類生物安全櫃? ☐ Class I ☐ Class IIA1 ☐ Class IIA2 ☐ Class IIB1 ☐ Class IIB2 ☐ Class III Note: Biosafety cabinet is necessary for handling Risk Group 2 microorganisms, animal or human cells/tissues/bodily fluids 注意: 二級危險性微生物、動物或人類的細胞/組織/體液必須在生物安全櫃內處理 |  | ☐ | ☐ |  |  |  |
| 21. | Will you generate clinical (biological) waste? 會產生醫療(生物)廢物? If Yes, please state the method of clinical waste disposal: 若是，請說明如何棄置醫療物: ________________________________________________________________________ |  | ☐ | ☐ |  | R6 |  |
| IV. | Ionizing Radiation Sources 電離輻射源 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 22. | Will you handle any radioactive substances? 會處理放射性物質? |  | ☐ | ☐ |  | R7 | D7 |
| 23. | Will you use any irradiating apparatus (e.g. X-ray equipment)? 會使用輻照儀器 (例如X射線設備)? |  | ☐ | ☐ |  | R7 | D8 |
| 24. | If applicable, what safety measures will you implement to avoid exposure to ionizing radiation from radioactive substances and/or irradiating apparatus? 若適用，會採取那些安全措施來避免接觸由放射性物質及或輻照儀器所產生的電離輻射? ______________________________________________________________________________ |  | NA | NA |  |  |  |
| V. | Sources of Non-ionizing Radiation and Magnetic Fields 非電離輻射和磁場源 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 25. | Will you use any high power (Class 3B or 4) laser equipment? 會使用高能量(3B或4級)激光設備? |  | ☐ | ☐ |  |  | D9 |
| 26. | Will you use any devices capable of generating ultraviolet (UV) radiation? 會使用能產生紫外線輻射的設備? |  | ☐ | ☐ |  |  | D10 |
| 27. | Will you use any devices capable of generating strong intensity of radiofrequency or microwave radiation? 會使用能夠產生強烈無線射頻或微波輻射的設備? |  | ☐ | ☐ |  |  | D11 |
| 28. | Do you intend to use any devices capable of generating strong magnetic fields? 會使用能夠產生強磁場的設備? |  | ☐ | ☐ |  |  | D12 |
| 29. | If applicable, what safety measures will you implement to avoid exposure to the laser beam / radiofrequency / UV or microwave radiation / magnetic fields? 若適用，有那些相應安全措施來避免暴露於激光束/射頻/紫外線或微波輻射/磁場? _______________________________________________________________________ |  | NA | NA |  |  |  |
| VI. | Machinery / Boiler & Pressure Vessels 機械/鍋爐和壓力容器 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 30. | Will you use any machinery having moving parts associated with cutting, laceration, piercing, pinching hazards? 會使用具有轉動部份並能構成切割、裂傷、穿孔、擠壓危害的機械? |  | ☐ | ☐ |  | R8 – R10 | D13 |
| 31. | Will you use any lifting appliance (LA) or lifting gear (LG)? 會使用任何起重設備(LA)或起重裝置(LG)? |  | ☐ | ☐ |  | R11 | D14 |
| 32. | Will you use any boilers or pressure vessels, e.g. autoclave, steam or air receivers, etc.? 會使用鍋爐或壓力容器，例如高壓釜，蒸汽或壓縮空氣接收器等? |  | ☐ | ☐ |  | R12 | D15 |
| VII. | Exposure Control / Monitoring 通風和環境控制/監測 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 33. | Will you use fume cupboard for handling hazardous chemicals in the facility? 會使用通風櫃處理設施中的危險化學品? If Yes, what type of fume cupboard do you need? 若是，需要什麼類型的通風櫃? ☐ Fume cupboard without scrubber 沒有洗滌器的通風櫃 ☐ Fume cupboard with scrubber 帶有洗滌器的通風櫃 ☐ Fume cupboard with wash down system and scrubber 具有沖洗系統和洗滌器的通風櫃 ☐ Other special fume cupboard (Please name the type) 其他特殊通風櫃(請註明): _____________________________________________________________________ |  | ☐ | ☐ |  |  |  |
| 34. | Are there any equipment (other than fume cupboard) require connection to local exhaust ventilation for proper discharge of air contaminants? 除通風櫃之外，是否有其他設備需連接到排氣裝置，以有效排出空氣污染物? |  | ☐ | ☐ |  |  | D16 |
| 35. | Will your research activities generate air contaminants, odors, steam or excessive heat? 研究活動是否會產生空氣污染物，氣味，蒸汽或過多的熱力? If Yes, what control measure(s) will you adopt to avoid exposure to these air contaminants, odors, steam or excessive heat? 若是，會採取什麼控制措施以避免暴露於這些空氣污染物、氣味、蒸汽或過多的熱力? ________________________________________________________________________ |  | ☐ | ☐ |  |  |  |
| 36. | Will you install any of the following monitoring / emergency system(s) for safe processing of your research activities? 為安全進行研究活動，會否安裝以下的監測或緊急系統? If Yes, please indicate the system(s) to be installed: 若是，請指出將安裝之系統: ☐ Gas sensor and alarm system 氣體探測器和警報系統 ☐ Room differential pressure gauge / sensor 房間壓差計 ☐ Emergency exhaust system 緊急排氣系統 ☐ Emergency alarm system 緊急警報系統 ☐ Others其他 (Please state 請註明: _______________________________________ ) Note: Maintenance of negative pressure, and installation of differential pressure gauge, emergency exhaust and alarm systems are mandatory for wet laboratories. 注意: 濕式實驗室必須維持負壓及配備壓差計、緊急排氣和警報系統 |  | ☐ | ☐ |  |  |  |
| VIII. | Other Special Features 其他特別詳情 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 37. | Will any special installations / facilities be required in your laboratory areas? 實驗室區域是否需要特殊的裝置或設施? If Yes, please tick the applicable items as listed below: 若是，請選擇以下所需之項目: ☐ Clean room 無塵室 ☐ Confined space密閉空間 ☐ Cytotoxic drug safety cabinet 細胞毒性藥物安全櫃 ☐ Dangerous goods store 危險品貯存倉庫 ☐ Fire extinguisher (Class D) for metal fire 用於金屬火災的D類滅火筒 ☐ Fire extinguishing system (Total flooding) 整合性滅火系統 (e.g. FM200, etc.) ☐ Fire sprinkler system (Pre-action type) 預作用式灑水滅火系統 ☐ Positive pressure environment正氣壓環境 ☐ Raised flooring or platform升高地台 ☐ Waste treatment facilities 廢棄物處理設施 ☐ Others其他（Please state請註明: ） |  | ☐ | ☐ |  |  |  |
| 38. | Will your research / operations involve any significant high risk activities which are not specified above? 你的研究 / 操作涉及以上未有提及的高風險活動? If Yes, please briefly describe the high risk activities: 若是，請概括描述該高風險活動: ________________________________________________________________________ |  | ☐ | ☐ |  |  |  |
| IX. | Utilities and Centralized Laboratory Provisions 中央實驗室設施及供應項目 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 39. | Do you need any of the following central laboratory provisions that may be available? 是否需要以下有可能提供之中央實驗室設施及供應? If Yes, please indicate the required provision(s): 若是，請選擇以下所需之供應項目: ☐ Compressed air壓縮空氣 (4 Bar) ☐ Compressed air壓縮空氣 ( 7 Bar) ☐ Vacuum真空氣壓 (450 mmHg) ☐ Purified Water純水 (1 MΩ) ☐ De-ionized Water去離子水 (18 MΩ) ☐ Nitrogen gas氮氣 (99.99%; 5.5 bar) ☐ Carbon dioxide gas二氧化碳 (99.9%; 4 bar) Note: The provisions vary depending on the premises. 注意: 以上所列之設施及供應，會按不同建築物而有所不同。 |  | ☐ | ☐ |  |  |  |
| 40. | Do you need any other centralized facilities or equipment (e.g. uninterrupted power supply (UPS), heat exhaust / cooling for high power equipment, etc.)? 是否需要使用其他中央供應的設施(例如不間斷電源(UPS)、大功率設備的散熱/冷卻等)? If Yes, please specify: 若是，請具體說明: ________________________________________________________________________ |  | ☐ | ☐ |  |  |  |
| X. | Safety Provisions 安全配備項目 |  | Yes是 | No否 |  | Applicable Legislation 適用之法規 | Document Required 所須之文件 |
| 41. | Will emergency response plan (ERP) be implemented? 是否設有緊急應變計劃? |  | ☐ | ☐ |  |  | D17 |
| 42. | Will Standard Operating Procedures (SOP) be established for potentially hazardous activities? 對於有潛在危險的活動，有否製訂標準操作程序? |  | ☐ | ☐ |  |  |  |
| 43. | Will proper firefighting equipment be provided? 會否提供適當的滅火器具? |  | ☐ | ☐ |  |  |  |
| 44. | Will emergency shower / eyewash unit be installed? 會否安裝緊急沖淋裝置/洗眼器? |  | ☐ | ☐ |  |  |  |
| 45. | Will proper personal protective equipment be provided? 會否提供適當的個人防護裝備? |  | ☐ | ☐ |  |  |  |
| 46. | Will first aid kit be provided? 會否提供急救箱? |  | ☐ | ☐ |  |  |  |
| 47. | Will hazardous substances spill kit be provided? 會否提供有害物質洩漏套裝? |  | ☐ | ☐ |  |  |  |

Table 1  	Local Legislation for Compliance

表一  	須要遵守的本地法規

| I agree to follow all applicable local legislations (including but not limited to those listed below) in connection with my prospective operations at the Science Park. 我同意在科學園內進行預期的操作，會遵守所有相關的本地法規(包括但不限於以下所列出的)。 |  | ☐ Yes是 ☐ No否 |
| --- | --- | --- |
| Reg No.號碼 | Name of Legislation 法規名稱 |  |
| R1 | Dangerous Goods Ordinance (Cap. 295) 危險品條例（香港法例第295章） |  |
| R2 | Dangerous Drugs Ordinance (Cap. 134) 危險藥物條例（香港法例第134章） |  |
| R3 | Control of Chemicals Ordinance (Cap. 145) 化學品管制條例（香港法例第145） |  |
| R4 | Hazardous Chemicals Control Ordinance (Cap. 595) 有毒化學品管制條例（香港法例第595章） |  |
| R5 | Import & Export (Strategic Commodities) Regulations (Cap. 60G) 進出口條例 (香港法例第60G章) |  |
| R6 | Waste Disposal Ordinance (Cap. 354) 廢物處置條例 (香港法例第354章) |  |
| R7 | Radiation Ordinance (Cap. 303) 輻射條例(香港法例第303章) |  |
| R8 | Occupational Safety & Health Ordinance (Cap. 509) 職業安全及健康條例(香港法例第509章) |  |
| R9 | Factories & Industrial Undertakings (Abrasive Wheels) Regulations (Cap. 59L) 工廠及工業經營(砂輪)規例(香港法例第59L章) |  |
| R10 | Factories & Industrial Undertakings (Guarding & Operation of Machinery) Regulations (Cap. 59Q) 工廠及工業經營(機械的防護及操作)規例(香港法例第59Q章) |  |
| R11 | Factories & Industrial Undertakings (Lifting Appliances & Lifting Gear) Regulations (Cap. 59J) 工廠及工業經營(起重機械及起重裝置)規例(香港法例 第59J章) |  |
| R12 | Boilers & Pressure Vessels Ordinance (Cap. 56) 鍋爐及壓力容器條例(香港法例 第56章) |  |

Table 2 	Document to be submitted for further safety review

表二	所需提交作安全評估之文件

| I have attached the following necessary documents (please tick where appropriate in the table below) together with this application for submission to HKSTP. 我已經附上下列所需之文件(請在下表內鈎選)，連同這份申請一併提交給香港科學園。 |  | ☐ Yes是 ☐ No否 |
| --- | --- | --- |
| List No. 號碼 | Name of Document 文件名稱 | Attached 已附上 |
| D1 | List of chemicals, dangerous goods or drugs and their quantities 化學品、危險品或藥物及其數量的清單 | ☐ |
| D2 | List of gases and the quantity of cylinder 氣體名稱和氣瓶數量的清單 | ☐ |
| D3 | List of microorganisms involved and their corresponding risk groups 涉及的微生物清單及其風險組別 | ☐ |
| D4 | List of animal cells, tissues or bodily fluids 動物細胞、組織、體液等清單 | ☐ |
| D5 | List of animals associated with potentially infectious agents or animals inoculated with microorganisms 有機會受感染的動物或接種過微生物至體內的動物清單 | ☐ |
| D6 | List of human cells, tissues or bodily fluids 人類細胞、組織、體液等清單 | ☐ |
| D7 | List of radioactive substances 放射性物質清單 | ☐ |
| D8 | List of irradiating apparatus 輻照儀器清單 | ☐ |
| D9 | List of laser equipment having information about class of laser and if the laser beam is totally enclosed 激光設備清單：包含每種設備的激光類別、激光束是否完全被屏蔽等資料 | ☐ |
| D10 | List of devices or equipment capable of generating ultraviolet (UV) radiation 能夠產生紫外線的設備清單 | ☐ |
| D11 | List of devices or equipment capable of generating strong intensity of radiofrequency or microwave radiation 能夠產生強烈無線射頻或微波輻射的設備清單 | ☐ |
| D12 | List of devices or equipment capable of generating strong magnetic fields 能夠產生強磁場的設備清單 | ☐ |
| D13 | List of machinery involved having moving parts associated with cutting, laceration, piercing, pinching hazards 具有切割，裂傷，穿孔，擠壓等危險的機械清單 | ☐ |
| D14 | List of lifting appliance (LA) or lifting gear (LG) involved 起重設備或裝置清單 | ☐ |
| D15 | List of boilers or pressure vessels involved 鍋爐或壓力容器清單 | ☐ |
| D16 | List of equipment (other than fume cupboard) require connection to local exhaust ventilation for proper discharge of air contaminants 其他需要連接到排氣裝置(除通風櫃之外)以有效排出空氣污染物的設備清單 | ☐ |
| D17 | Emergency response plan (ERP) 緊急應變計劃 | ☐ |

This form is completed by the undersigned.    此表格由以下簽署者填寫。

| Name: 姓名: |  | Position/ Designation: 職位: |  |
| --- | --- | --- | --- |
| Authorized Signature with Company Chop: 公司蓋章及授權簽署 |  | Date: 日期 |  |

Appendix 1    Approval Criteria with respect to Safety, Health & Environment (SHE)

附錄一 	有關安全健康環境之㧗核準則

| No. | Element of SHE 安全健康環境之元素 | Approval Criteria 㧗核準則 |
| --- | --- | --- |
| 1. | Chemicals and drugs 化學品/藥品 | - The use and storage of chemicals / dangerous goods and drugs complies with relevant local legislation化學品/危險品/藥品之使用及儲存符合相關法規 - The handling of hazardous chemicals conforms with HKSTP Corporation’s safety requirements 危險化學物品之處理符合香港科技園公司之相關安全要求 |
| 2. | Biological agents 生物物質 | - Highly infectious microorganisms (Risk Group 3 or 4) are not involved 不涉及處理高度傳染性的微生物( 風險組別3或4) - Animals (including vertebrates and invertebrates) involved are not associated with any potentially infectious agents which may result in the spreading of diseases 不涉及處理有機會受感染及可傳染疾病的動物(包括脊椎及無脊椎動物) - Microorganisms of Risk Group 2 are handled in proper biosafety cabinets with Biosafety Level 2 practices 以適當的2級生物安全操作程序及在生物安全櫃內處理2級風險之微生物 - Animal or human cells, tissues or bodily fluids are handled in proper biosafety cabinets with Biosafety Level 2 practices 以適當的2級生物安全操作程序及在生物安全櫃內處理動物或人體之細胞、組織、體液等 - Biosafety cabinets are regularly maintained with proper disinfection and certification 會定期保養、消毒及檢驗生物安全櫃 |
| 3. | Ionizing radiation sources 電離輻射源 | - The use of irradiating apparatus such as X-ray machines complies with relevant local legislation 輻照儀器(例如X射線設備)之使用符合本地之相關法規 - The use and handling of sealed or unsealed radiation sources complies with relevant local legislation 放射性物質之處理及使用符合本地之相關法規 - Sufficient shielding, PPE and safety measures are provided / employed to protect against personnel exposure to ionizing radiation 採取足夠之安全措施及使用適當的屏隔及防護衣物以避免接觸電離輻射 |
| 4. | Non-ionizing radiation / magnetic field sources 非電離輻射和磁場的來源 | - The use of high power laser equipment (Class 3B or 4) conforms with international safety practices and HKSTP Corporation’s safety requirements 高能量(3B或4級)激光設備之使用符合相關國際安全守則及香港科技園公司之安全要求 - The use of UV devices conforms with international safety practices and HKSTP Corporation’s safety requirements 可產生紫外線輻射的設備之使用符合相關國際安全守則及香港科技園公司之安全要求 - Devices capable of generating strong intensity of radiofrequency, microwave radiation or magnetic fields are used following proper safety measures and practices 採用適當的安全措施使用可產生強烈無線射頻、微波輻射或磁場的設備 |
| 5. | Hazardous wastes 有害廢棄物 | - Hazardous wastes including chemical, clinical and radioactive wastes are properly handled, packaged, stored and disposed of in compliance with local legislation 有害廢棄物包括化學廢料、醫療廢物及放射性廢物之處理、包裝、儲存及棄置均符合本地之相關的法規 |
| 6. | Boilers & pressure vessels 鍋爐和壓力容器 | - The use of boilers and pressure vessels complies with relevant local legislation 鍋爐和壓力容器之使用符合本地之相關法規 |
| 7. | Machinery 機械 | - Moving parts of machinery are properly guarded following local legislation 根據本地相關法規之要求，機械之轉動部分安裝有適當之護罩 - Lifting appliances and lifting gears are properly installed, used and maintained with certifications following local legislation 根據本地相關法規之要求，適當地安裝、使用、保養及檢驗起重設備及裝置 |
| 8. | Ventilation通風 | - Laboratory areas where hazardous substances are handled are maintained under negative pressure 涉及處理危害物質的實驗室環境必須維持負壓 - Proper type of fume cupboard(s) is/are available for handling hazardous substances 使用適當類型的通風櫃處理危害物質 - Fume cupboards are exhausted at least 3 meters above the rooftop of a building 通風櫃之抽風出口必須置於建築物頂樓3米或以上 - Other local exhaust ventilation system(s) is/are available for extraction of air contaminants 安裝局部抽風系統以排放其他的空氣汚染物 Note: Please refer to HKSTP Laboratory Design Guide for more information about the requirements for installation of fume cupboards 注意：有關通風櫃安裝要求之詳情，請參考香港科技園公司之實驗室設計指引 |
| 9. | Other high risk operations / conditions 其他高風險操作/狀況 | - Proper safety measures shall be in place in case of other high risk operations and conditions 必須採取適當的安全措施及程序以進行或處理其他具高風險的操作或狀況 - Risk assessment shall be carried out based on the information provided by the applicant 將根據申請人提供之資料進行風險評估 |
| 10. | Safety Provisions 安全配備 | - Necessary laboratory safety equipment shall be provided or installed. These include proper firefighting equipment, emergency shower and eyewash unit, spill kit, first aid kit, and personal protective equipment, etc. 提供實驗室所需之安全設施，包括滅火器具、緊急沖淋和洗眼器、危害物洩漏套件、急救箱和個人防護裝備等 - Emergency response plan and emergency procedures, etc. shall be established 制訂緊急應變計劃和程序等 |