| Facility Name / Location |  | Division | Contact Person |
| --- | --- | --- | --- |
| Inspector | Inspection Date |  | Inspection Time |

| A. Safety & Health |  | YES | NO | NA | Comment |
| --- | --- | --- | --- | --- | --- |
| 1. Basic Requirement |  |  |  |  |  |
| 1.1 | No sign of smoking in office |  |  |  |  |
| 1.2 | Office area have sufficient luminance and suitable lighting (300 – 500 lux in general) |  |  |  |  |
| 1.3 | Lighting is not flickering or out of service |  |  |  |  |
| 1.4 | Good housekeeping – corridors / passageways are clean and free from obstruction, slip or trip hazard. |  |  |  |  |
| 1.5 | Sharp edge or corners is not presented on furniture or interior design and decoration. |  |  |  |  |
| 1.6 | File cabinets and storage closets are arranged so drawers and doors do not open into walkways |  |  |  |  |
| 1.7 | Desk, file and book case drawers closed when not in use |  |  |  |  |
| 1.8 | Storage racks are free from sagging |  |  |  |  |
| 1.9 | All goods and materials are stored, stacked or arranged that in a manner no danger is caused to any person |  |  |  |  |
| 1.10 | Carpet is in good condition and is free from trip hazards |  |  |  |  |
| 1.11 | Waste materials are placed in the waste containers properly which are emptied regularly |  |  |  |  |
| 1.12 | Emergency contact list is posted in office area |  |  |  |  |
| 1.13 | Emergency escape plans are displayed |  |  |  |  |
| 1.14 | Toilet is tidy and floor is dry not to create slipping hazard |  |  |  |  |
| 1.15 | No wooden ladder is stored or used |  |  |  |  |
| 1.16 | No evidence of crawling, flying insects, cobweb on walls |  |  |  |  |
| 2. First Aid Kit |  |  |  |  |  |
| 2.1 | First aid kit is accessible in office area |  |  |  |  |
| 2.2 | First aid box is designated and labeled with at least two persons responsible for it |  |  |  |  |
| 2.3 | Wording of “First Aid” in English and Chinese is marked on the first aid box |  |  |  |  |
| 2.4 | First aid material are in valid date and sufficient for the said number of employees |  |  |  |  |
| 2.5 | Periodic check is conducted and recorded |  |  |  |  |
| 3. Fire Safety |  |  |  |  |  |
| 3.1 | Smoke / fire rated doors are self-closing and be kept closed and not blocked open at all times |  |  |  |  |
| 3.2 | Doors or gates do not swing into the exit routes |  |  |  |  |
| 3.3 | Vision panels to fire rated doors remain intact |  |  |  |  |
| 3.4 | Exit routes are not obstructed, fastened or locked with keys at all times |  |  |  |  |
| 3.5 | Exit signs are clear and illuminated |  |  |  |  |
| 3.6 | Adequate lighting is provided for the exit routes including corridors and evacuation staircases and is kept in good condition |  |  |  |  |
| 3.7 | The balustrades and handrails along the exit routes and in the evacuation staircases are maintained in good condition |  |  |  |  |
| 3.8 | Suitable firefighting equipment, e.g. fire extinguishers, fire blanket, sand bucket, is available and maintained in good condition. They should be mounted/placed in the designated location and easy to reach |  |  |  |  |
| 3.9 | Maintenance of firefighting equipment up to date (next inspection date is not expired) |  |  |  |  |
| 3.10 | Sprinklers, hose reel, fire alarms are available and in good condition |  |  |  |  |
| 3.11 | Free of obstruction to sprinkler / thermal detector heads by storage racks, goods. The clearance below each individual sprinkler head is more than 500mm |  |  |  |  |
| 3.12 | Are regular evacuation drills carried out (at least once a year)? The date of last drill performed:_________________ |  |  |  |  |
| 4. Electrical Safety |  |  |  |  |  |
| 4.1 | Plugs, sockets and switches are securely screwed, without cracks and free from signs of overheating |  |  |  |  |
| 4.2 | Electrical fitting are free from loose / exposed wires |  |  |  |  |
| 4.3 | Electric wiring across passageways should not be loosen and should be protected |  |  |  |  |
| 4.4 | An unobstructed access to electrical breaker panels i.e. not blocked |  |  |  |  |
| 4.5 | All heat producing appliances are kept away from flammables |  |  |  |  |
| 4.6 | Faulty or broken equipment removed from service and indicate clearly not in use or out of service |  |  |  |  |
| 5. Personal Protective Equipment (PPE) – for IE Office |  |  |  |  |  |
| 5.1 | Safety helmet is present / worn when appropriate |  |  |  |  |
| 5.2 | Reflective coat is present / worn when appropriate |  |  |  |  |
| 5.3 | Eye / hearing protection is present / worn when appropriate |  |  |  |  |
| 5.4 | Specific PPE is present / worn when appropriate |  |  |  |  |
| 6. Others |  |  |  |  |  |
| 6.1 | Others (Please specify: ______________________________) |  |  |  |  |
| 6.2 |  |  |  |  |  |
| 6.3 |  |  |  |  |  |
| B. Environmental |  |  |  |  |  |
| 1.1 | Lighting / air conditioning is switched off when not in use |  |  |  |  |
| 1.2 | External window in air-conditioned rooms are kept closed |  |  |  |  |
| 1.3 | The rooms are suitably ventilated. Temperature / humidity is controlled at the desired range |  |  |  |  |
| 1.4 | No special, unpleasant or irritating smell is generated (e.g. smell of foul water & sewage water, expired food with bad smell) |  |  |  |  |
| 1.5 | Boxes or trays are provided in offices for collection of waste materials for reuse and / or recycling as far as practicable |  |  |  |  |
| 1.6 | Reusable paper (used one side only) is stored in specified area properly for reuse |  |  |  |  |
| 1.7 | Old cartridges / toners are segregated for recycling and stored in specified area |  |  |  |  |
| 1.8 | Vehicle engines are switched off when stationary |  |  |  |  |
| 1.9 | Indoor Air Quality is in acceptable level (no complaint) |  |  |  |  |
| 1.10 | No accumulation of stagnant water for mosquito / insect breeding |  |  |  |  |
| 1.11 | Others (Please specify: ______________________________) |  |  |  |  |

| Performance | Satisfactory Conditional Unsatisfactory |  |
| --- | --- | --- |
| Comment: |  |  |
| Reviewed by: |  | Date: |

Follow-up Actions

| Item No. | Description of Corrective Action(s) | Handled By | Completion Date | Open / Closed |
| --- | --- | --- | --- | --- |

Appendix A: Inspection Legend

| Results | Description |
| --- | --- |
| Satisfactory | No significant safety observations made |
| Conditional | Routine safety considerations that require prompt rectification (normally not more than 14 working days) to enable continued safe operations, e.g. unlit emergency exit sign, expired first aid provision, etc. |
| Unsatisfactory | critically unsafe conditions or breach of legislation that require immediate or urgent rectification, e.g. obstructed means of escape, faulty alarms / emergency systems, etc. |

- For the case of Conditional, related team / staff are required to resolve issues within 14 working days (photo can be provided as an evidence)