| Part 1 – Particulars: |  |  |  |
| --- | --- | --- | --- |
| Name of Client: |  | Lab Location: |  |
| Person In-Charge: |  | Post: |  |
| Inspected By: |  | Post: |  |
| Inspection Date: |  | Signature: |  |

| Part 2 – Inspection Findings: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| No. | Item | NA | Yes | No | Rectification (if “No”) |  |
|  |  |  |  |  | Action | Date Completed |
| 1. | General Safety: |  |  |  |  |  |
| 1.1 | Access control exits and functions |  |  |  |  |  |
| 1.2 | Lab placard with necessary info at the entrance |  |  |  |  |  |
| 1.3 | Pressure gauge functions and lab under negative pressure |  |  |  |  |  |
| 1.4 | Emergency exhaust functions |  |  |  |  |  |
| 1.5 | Exit sign illuminated |  |  |  |  |  |
| 1.6 | Emergency escape route displayed |  |  |  |  |  |
| 1.7 | Emergency escape route / aisle(s) clear without obstruction |  |  |  |  |  |
| 1.8 | General ventilation system functions properly |  |  |  |  |  |
| 1.9 | Local exhaust ventilation system(s) function(s) properly |  |  |  |  |  |
| 1.10 | Walk-in enclosure / chamber can be opened from inside |  |  |  |  |  |
| 1.11 | Good housekeeping |  |  |  |  |  |
| 1.12 | Active lab working areas are free from foods and drinks |  |  |  |  |  |
| 1.13 | Broken glass and sharps are kept in proper containers |  |  |  |  |  |
| 2. | Electrical Safety: |  |  |  |  |  |
| 2.1 | Adaptor(s) / extension board(s) in compliance with standards |  |  |  |  |  |
| 2.2 | Adaptor(s) / extension board(s) are used in a safe manner |  |  |  |  |  |
| 2.3 | Extension boards are not placed near water source or location prone to water splash |  |  |  |  |  |
| 2.4 | Extension boards are not placed inside fume cupboard(s) |  |  |  |  |  |
| 2.5 | Electric cables are running on the floor with protection |  |  |  |  |  |
| 2.6 | Live parts of electrical cables are not exposed |  |  |  |  |  |
| No. | Item | NA | Yes | No | Rectification (if “No”) |  |
|  |  |  |  |  | Action | Date Completed |
| 3. | Dangerous Goods & Controlled Chemicals Regulatory Issues |  |  |  |  |  |
| 3.1 | The quantities of chemicals kept are within the legal limits |  |  |  |  |  |
| 3.2 | Valid DG license(s) for chemicals available |  |  |  |  |  |
| 3.3 | The quantities of gas cylinders kept are within the legal limits |  |  |  |  |  |
| 3.4 | Gas cylinders pressure tested within the preceding 5 years |  |  |  |  |  |
| 3.5 | Valid DG license(s) for gas cylinders available |  |  |  |  |  |
| 3.6 | Valid license(s) or permit(s) for other controlled chemical(s) available |  |  |  |  |  |
| 4. | Chemical Safety: |  |  |  |  |  |
| 4.1 | Chemical inventory available and up-to-date |  |  |  |  |  |
| 4.2 | MSDSs / SDSs for chemicals available |  |  |  |  |  |
| 4.3 | Chemical containers are intact and properly labeled |  |  |  |  |  |
| 4.4 | Chemicals are kept in accordance with their compatibilities |  |  |  |  |  |
| 4.5 | Appropriate chemical storage cabinet(s) with hazard symbols available |  |  |  |  |  |
| 4.6 | Chemicals on the floor are kept in secondary containers |  |  |  |  |  |
| 4.7 | Liquid chemicals are kept in upright positions |  |  |  |  |  |
| 4.8 | Liquid chemicals are kept below eye level |  |  |  |  |  |
| 4.9 | Flammable chemicals are kept in spark-proof refrigerators |  |  |  |  |  |
| 4.10 | Peroxide forming chemicals are labeled with the date opened |  |  |  |  |  |
| 4.11 | SOP where necessary is available and followed |  |  |  |  |  |
| 4.12 | Fume cupboard(s) function(s) properly |  |  |  |  |  |
| 4.13 | Fume cupboard(s) tested and certified periodically with records displayed |  |  |  |  |  |
| 4.14 | Air flow into the fume cupboard not obstructed |  |  |  |  |  |
| 4.15 | Glove box properly exhausted |  |  |  |  |  |
| 4.16 | Proper chemical waste containers clearly labeled with the type of waste available |  |  |  |  |  |
| 4.17 | Chemical waste containers are properly kept with secondary containers |  |  |  |  |  |
| 4.18 | Chemical waste is collected by licensed collector |  |  |  |  |  |
| 5. | Gas Safety: |  |  |  |  |  |
| 5.1 | Gas cylinders properly secured |  |  |  |  |  |
| 5.2 | Gas cylinders labeled as to contents |  |  |  |  |  |
| 5.3 | Gas cylinders away from direct sunlight or ignition source |  |  |  |  |  |
| 5.4 | Gas piping in good conditions |  |  |  |  |  |
| No. | Item | NA | Yes | No | Rectification (if “No”) |  |
|  |  |  |  |  | Action | Date Completed |
| 5.5 | Flame arrestor in use where appropriate |  |  |  |  |  |
| 5.6 | Gas cabinet(s) function(s) properly |  |  |  |  |  |
| 5.7 | Gas detector(s) installed where necessary and properly maintained / calibrated periodically |  |  |  |  |  |
| 6. | Biological Safety: |  |  |  |  |  |
| 6.1 | All microorganisms being used are of Risk Group 1 or 2 |  |  |  |  |  |
| 6.2 | Microorganisms and clinical specimens are handled following Biosafety Level 2 practices |  |  |  |  |  |
| 6.3 | Biological agents are properly kept in closed containers |  |  |  |  |  |
| 6.4 | Biosafety cabinet(s) function(s) properly |  |  |  |  |  |
| 6.5 | Biosafety cabinet(s) tested and certified periodically with records displayed |  |  |  |  |  |
| 6.6 | Proper disinfectants for decontamination purpose are readily available |  |  |  |  |  |
| 6.7 | Autoclave(s) examined within the previous 14 months |  |  |  |  |  |
| 6.8 | Clinical waste is properly packaged, labeled and temporarily kept in suitable closed container(s) with signage |  |  |  |  |  |
| 6.9 | Storage cabinet for clinical waste is lockable with proper signage and label |  |  |  |  |  |
| 6.10 | Clinical waste is collected by licensed collector |  |  |  |  |  |
| 7. | Laser Safety: |  |  |  |  |  |
| 7.1 | Warning sign displayed |  |  |  |  |  |
| 7.2 | Warning light functions |  |  |  |  |  |
| 7.3 | Laser stably mounted |  |  |  |  |  |
| 7.4 | Switch control exists |  |  |  |  |  |
| 7.5 | Laser beam not at eye level |  |  |  |  |  |
| 7.6 | Laser beam not directed towards entrance or walkway |  |  |  |  |  |
| 7.7 | Laser beam confined in enclosure with interlocking system |  |  |  |  |  |
| 7.8 | SOP available and followed |  |  |  |  |  |
| 7.9 | Away from reflective surfaces and flammables |  |  |  |  |  |
| 7.10 | Local exhaust ventilation system is in place where necessary |  |  |  |  |  |
| 7.11 | Proper firefighting equipment in the vicinity of Class 4 lasers |  |  |  |  |  |
| 8. | Ionizing Radiation Safety: |  |  |  |  |  |
| 8.1 | Warning sign displayed |  |  |  |  |  |
| 8.2 | Relevant and valid IA or RS license(s) available |  |  |  |  |  |
| 8.3 | Users have been trained in radiation safety |  |  |  |  |  |
| No. | Item | NA | Yes | No | Rectification (if “No”) |  |
|  |  |  |  |  | Action | Date Completed |
| 8.4 | Users are personally monitored (using TLDs) on radiation exposure |  |  |  |  |  |
| 8.5 | For open beam X-ray equipment: Warning light at the entrance functions |  |  |  |  |  |
| 8.6 | For open beam X-ray equipment: X-ray beam is directed away from the operator, room entrance and walkway |  |  |  |  |  |
| 8.7 | For open beam X-ray equipment: No flammables in the vicinity |  |  |  |  |  |
| 8.8 | For closed beam X-ray equipment: Interlocking mechanism of the X-ray equipment enclosure functions properly |  |  |  |  |  |
| 8.9 | Visible /audible alarm on the X-ray equipment is automatically activated when the equipment is energizing |  |  |  |  |  |
| 8.10 | Sealed radioactive substances are wipe tested annually in accordance with legal requirements |  |  |  |  |  |
| 8.11 | Unsealed radioactive substances are used in accordance with the licensing conditions |  |  |  |  |  |
| 8.12 | Appropriate shielding available |  |  |  |  |  |
| 8.13 | SOP available and followed |  |  |  |  |  |
| 8.14 | Appropriate radiation survey meter available |  |  |  |  |  |
| 8.15 | Radioactive waste is properly kept and disposed of in accordance with the licensing conditions |  |  |  |  |  |
| 9. | Non-ionizing Radiation / Magnetic Fields Safety: |  |  |  |  |  |
| 9.1 | Warning sign displayed |  |  |  |  |  |
| 9.2 | Hazard areas demarcated |  |  |  |  |  |
| 9.3 | Appropriate shielding available for protection against exposure |  |  |  |  |  |
| 9.4 | SOP where necessary is available and followed |  |  |  |  |  |
| 10. | Machinery / Equipment Safety: |  |  |  |  |  |
| 10.1 | Moving parts of machinery properly guarded |  |  |  |  |  |
| 10.2 | Abrasive wheel(s) is/are used in compliance with relevant legal requirements |  |  |  |  |  |
| 10.3 | Valid user certificate(s) available |  |  |  |  |  |
| 10.4 | Eye protectors are used where necessary |  |  |  |  |  |
| 10.5 | Equipment capable of generating fumes / particulates / odors is/are exhausted by proper local exhaust ventilation system |  |  |  |  |  |
| 10.6 | SOP where necessary is available and followed |  |  |  |  |  |
| 11. | Boilers and Pressure Vessels: |  |  |  |  |  |
| 11.1 | Valid examination certificate(s) for boilers, steam receivers, air receivers, autoclaves, etc. are available |  |  |  |  |  |
| 11.2 | Valid user certificate(s) for boilers, steam receivers, autoclaves, etc. are available |  |  |  |  |  |
| No. | Item | NA | Yes | No | Rectification (if “No”) |  |
|  |  |  |  |  | Action | Date Completed |
| 11.3 | Air compressor(s) with air receiver(s) tested and certified with certification displayed |  |  |  |  |  |
| 11.4 | SOP where necessary is available and followed |  |  |  |  |  |
| 12. | Lifting Appliances and Lifting Gear (LALG): |  |  |  |  |  |
| 12.1 | Valid examination certificate(s) for cranes, pulley blocks, chains, wires, ropes, shackles, etc. are available |  |  |  |  |  |
| 12.2 | Valid operator certificate(s) for fork-lift trucks, bulldozers, etc. are available |  |  |  |  |  |
| 12.3 | SOP where necessary is available and followed |  |  |  |  |  |
| 13. | Safety Provisions: |  |  |  |  |  |
| 13.1 | Firefighting equipment available and periodically maintained with record displayed |  |  |  |  |  |
| 13.2 | Access to firefighting equipment unobstructed |  |  |  |  |  |
| 13.3 | 500 mm clearance for each fire sprinkler head maintained |  |  |  |  |  |
| 13.4 | Emergency shower(s) available with signage(s) |  |  |  |  |  |
| 13.5 | Emergency shower(s) periodically maintained with record(s) displayed |  |  |  |  |  |
| 13.6 | Eyewash unit(s) available with signage(s) |  |  |  |  |  |
| 13.7 | Eyewash unit(s) periodically maintained with record(s) displayed |  |  |  |  |  |
| 13.8 | Access to emergency shower(s) and eyewash unit(s) unobstructed |  |  |  |  |  |
| 13.9 | Appropriate type of spill kit(s) available and in good condition |  |  |  |  |  |
| 13.10 | First aid kit(s) available and in condition meeting relevant legal requirements |  |  |  |  |  |
| 13.11 | Necessary PPE available and in good conditions |  |  |  |  |  |
| 13.12 | Emergency Response Plan or Procedures (where necessary) properly displayed |  |  |  |  |  |
| 14. | Furniture: |  |  |  |  |  |
| 14.1 | Upholstery of lab chairs / stools is smooth, impervious and chemical resistant |  |  |  |  |  |
| 14.2 | Benchtops of suitable material in good condition |  |  |  |  |  |
| 15. | Others: |  |  |  |  |  |